## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6350
DATE OF REPORT: 04/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 20 Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 04/02/2021
Survey Completed By | Craig Nicholson
SECTION 2: Introduction
***Leak on manifold - please remedy***

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 3: Report
Attended site to investigate leaking manifold. Found cartridge to kitchen leaking, and causing damage to the actuator, and tripping the D/B panel. Isolated electrical and water supply to manifold. Replaced leaking cartridge and failed actuator, when fitted filled and tested for leaks, when satisfactory I switched on electrical supply testing function found all ok, cleaned work area Customer satisfied with works carried out. Van stock used 20-2578. 1x actuator. 1x cartridge.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes