## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close
Fellside Park
Whickham
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6379
DATE OF REPORT: 17/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close
Fellside Park
Whickham
NE16 4HU
Carried Out On | 05/02/2021, 17/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
no heating and no hot water following power cut

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 3: Report
Attend site 1700 for no heating or hot water Gain access to plantroom find main gas valve shut, reset and boilers and all plant turn on. Find middle boiler locking out carry out tests and find control box faulty causing intermittent lock outs so new control box needed. Part is Pektron ASS-0459G06B will order on Monday Offsite 1800 fow Onsite 1400 17/02/21 Pick pcb up from wholesalers travel to site , gain access to plantroom and stripmout no 2 boiler pcb and replace with new test all ok and carry out safety checks all working Parts used Pectrol control box Offsite 1500 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes