## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Athlone Court
Blyth
Ne24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6386
DATE OF REPORT: 06/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Athlone Court
Blyth
Ne24 1EW
Carried Out On | 06/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Loud banging from boiler room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 3: Report
LPC 6.2.21 CALLOUT Left home 12:45 Arrived on site 13:55 Arrived on site and gained access to building, loud noise could clearly heard up on entry . Traced sound and found it to be the TRV in the hallway outside flat no.32. Removed TRV head and noise stopped instantly, left head removed. Checked plantroom whilst on site all ok . Video taken if noise from valve . Left site 14:15 Proceeded to next job

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6386
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes