## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
67 Old Customs House
north shields
ne29 6lh
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6396
DATE OF REPORT: 09/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 67 Old Customs House
north shields
ne29 6lh
Carried Out On | 07/02/2021, 09/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Whole block reported to have no heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 3: Report
Attended site to find boiler sitting at 63 degrees. Pump sets functioning and 1 boiler operating, DA/DH to establish next steps liaising with BMS engineer and KH Management Visit not chargeable as is part of an ongoing issue we are aware of on site. LPC 9.2.21 1400 - 1500 Set 0-10 volts on LHS boiler as req as per guidance from Hamworthy , monitored functions and performance working off controls now .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6396
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes