## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
Bristol Drive
Wallsend
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6401
DATE OF REPORT: 08/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Spring View
Bristol Drive
Wallsend
NE28 9TY
Carried Out On | 08/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Job DescriptionFlats 3 ,6,15,17, 18, & 25 have no heating. half the building have heat and half don't. Please remedy and treat as Urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 3: Report
Attend site 1200 for various apartments without heating Gain access to flat 15 and check operation of heating find no temp on return, isolate return and using my hose connection up to heating manifold and pull water trough all 4 heating circuits until hot, only find heating up to 40° so go to plantroom to investigate further, find all 3 boilers firing but temperature leaving the plantroom at just over 40° isolate ASH pipework and put boilers on to high fire manually to get heating up to 60° , also cleaned out all strainers onsite to optimise flow throughout site, Left site all up to temp Offsite 1500

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 4: Photos
Room / Area
Description
Notes
Clearing all air locks on underfloor heating in flat 15
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6401
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes