## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6402
DATE OF REPORT: 10/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 23 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 10/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Tenant at Flat 23 states living room rad is not working and kitchen rad is not regulated. This cannot be turned up or down. P2 as tenant has already waited since ll/1/21and tenant is vul.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 3: Report
LPC 10.2.21 1400 - 1615 Attended site and gained access to flat. Found that radiators are working, the temperature is very poor . Freed off stuck rad valve on lounge rad and pulled the water to the rad , until it got hot and maintained its heat Dis the same with the others and now every radiator is hot , customer is happy . This is only a temp and partial fix as radiator valves req replacing , as heat can only controlled to flat by the room stat . WE NEED TO RETURN AT SOME POINT , TO SUPPLY AND FIT TRVS AS PROMISED TO TENNENT . BUT FLAT NOW HAS FULL HEATING .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes