## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Victoria Court
Front Street
Cullercoats
NE30 4QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6408
DATE OF REPORT: 09/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 21 Victoria Court
Front Street
Cullercoats
NE30 4QR
Carried Out On | 09/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Heating and water not working properly. Please remedy No covid 19. Please treat as Urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 3: Report
LPC 9.2.21 1130 - 1350 Arrived on site and gained access to the plantroom area. Found the pressurisation unit to be display high pressure alarm 4 bar , when the actual pressure of the system was 1.2 bar . Isolated to control panel to make safe , and liked out the pressurisation unit interlock within the unit itself. Powered back up the panel and all boilers fired and ran , checked all pumps etc . Monitored functions and performance of system until DHW fully recovered. New Pressurisation unit req £750 for new Flamco unit from total pumps , available in 3-5 days

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6408
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes