## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6410
DATE OF REPORT: 10/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Ramsey Terrace
Delves Lane
Consett
DH8 7EU
Carried Out On | 09/02/2021, 10/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
No heating/hot water (E16 fault on boiler)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 3: Report
Expansion vessel requires replacing as water leaking from schrader valve possibly requires prv replacing fan requires testing as working when boiler is first switched on but cuts out after few mins. Parts to be collected in morning customer aware, will be going back in morning dave aston also aware Replaced fan Prv valve and expanision vessel obtained parts from heating components and used ref number m531

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6410
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes