## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Carrside
Framwelgate Moore
Durham
DH1 5JQ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6414
DATE OF REPORT: 10/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 16 Carrside
Framwelgate Moore
Durham
DH1 5JQ
Carried Out On | 10/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
No heating or hot water. Fault E1 on boiler. Tenant reports this has happened before only a few weeks ago.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 3: Report
Found pressure on 0 found leak coming from isolation valve tightened all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6414
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes