## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms Communal Area
Chester-Le-Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6427
DATE OF REPORT: 10/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms Communal Area
Chester-Le-Street
County Durham
DH2 3EJ
Carried Out On | 10/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating in communal corridors and also guest rooms ---- ---- No issues with Covid

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 3: Report
Attend site 1445 for 3rd floor communal are with out heat, and floor 1 communal are has no heat Gain access to floor 3 communal underfloor heating manifold, find no power , find fuses blown, carry out investigations and find pump tripping unit, isolate and strip pump out find impeller siezed free off and reassemble and test heating all working wait until heat starting to get to the guest rooms which are the furthest away all ok. Gain access to 1st floor underfloor heating manifold and find wiring center not working so order new giacomini control center will return to site when parts come into stock 3-5 days Offsite 1730 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6427
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes