## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6437
DATE OF REPORT: 16/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 11/02/2021, 16/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Urgent: No Heating in office. Please remedy and treat as Urgent.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 3: Report
Attend site 1030 for no heating Gain access to underfloor heating free off valves and test all ok. Attend site 0830 Picked up the controller unit from Spencer 's and travel to site gain access to underfloor heating manifolds and isolate electricity and strip out faulty unit , install new and commission and test. Refit all heads that were removed to give heating , all heating working ok Offsite 0915 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes