## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6442
DATE OF REPORT: 11/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Rothley Grange
Solway Avenue
Cullercoats
NE30 3AU
Carried Out On | 11/02/2021
Survey Completed By | Robert Jones
SECTION 2: Introduction
Pressurization unit has tripped. Please remedy. Urgent - No boilers working in building. Leak on Calorifiers Please attend within 2hr

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 3: Report
Replaced pump washers on water heater 2 Note: rotary switch for water heater no2 is marked up as water heater 1 Also one of the drains are blocked

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Room / Area
Plant room
Description
Notes
Room / Area
Plant room
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6442
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes