## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Mill Lane
Askrigg
Leyburn
DL8 3HP
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-6444
DATE OF REPORT: 24/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 8 Mill Lane
Askrigg
Leyburn
DL8 3HP
Carried Out On | 11/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Diagnose and rectify fault on combination boiler, per appliance. NO VUL - NO RISK TO COVID 19 CONTACT NUMBER - 01969650980 NO LINKED

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 3: Report
Attend site 12.30 for heating not working. On arrival find a strong smell of kerosene, and notice that the tiger loop installed on the main oil line was badly damaged, spilling kerosene on to the path and garden possibly into the water way. Contact environmental agency and inform them of this incident and stop the oil leaking. Travel to ripon to collect parts return to site , install new filter but all pipework had to be altered , had to prime filter by using a suction pump. Once boiler running , test and check operation all ok.... Offsite 17.30 complete Home at 1900

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 4: Photos
Room / Area
Description
Notes
Old tiger loop cracked and pouring kerosene into the garden isolated and environment agency informed
Room / Area
Description
Notes
New filter fitted and commissioned
Room / Area
Description
Notes
Tigrr loop leaking and near a rain water drain
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes