## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
47 MacKintosh Court
Gilesgate
Durham
DH1 1PZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6447
DATE OF REPORT: 11/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 47 MacKintosh Court
Gilesgate
Durham
DH1 1PZ
Carried Out On | 11/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
No heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 3: Report
Ooh call out arrived at 7pm Found pressure on 0 Topped up checked for leaks and checked expansion vessel Left 7:30 pm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6447
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes