## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6449
DATE OF REPORT: 17/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 17/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
FOW - New 2 port zone valve required for living room as per Danny Snowdon (Radiators on constantly)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 3: Report
Attend site 1500 to change 2 port valve on heating Gain access to plant room switch plant off and drain heating down, go to flat strip out 2 port valve on 1/2" pipework and replace with new honeywell 2 port valve and alter pipework to allow 15mm copper pipe to be used test operation and check for leaks all ok Parts used 1/2" fi to copper x1 1/2" mi to copper x1 15mm copper x1 22mm honeywell 2 port valve 2 x 22mm- 15mm reducers x2 All from van stock £75 total Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes