## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Kempton Close
Shotley Bridge
County Durham
DH8 0UB
CARRIED OUT ON BEHALF OF
Mr & Mrs Nixon
REPORT NUMBER: 21-6451
DATE OF REPORT: 12/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr & Mrs Nixon
Address | 4 Kempton Close
Shotley Bridge
Consett
County Durham
DH8 0UB
Site Address | 4 Kempton Close
Shotley Bridge
County Durham
DH8 0UB
Carried Out On | 12/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Boiler has gone off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 3: Report
No fault on arrival checked gas rate and cleaned condensate all working ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6451
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes