## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within House, Strathmore House
163 Strathmore Crescent
Newcastle upon Tyne
NE4 8UA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6462
DATE OF REPORT: 12/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within House, Strathmore House
163 Strathmore Crescent
Newcastle upon Tyne
NE4 8UA
Carried Out On | 12/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Zenith - Leak on Boiler in Boiler Room - Leaking though ceiling in to Laundry Room - EME job - Please attend ASAP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 3: Report
Both boilers share the same condensate pipe which runs outside , condensate was frozen causing boilers to back up and leak , cut condensate pipe at bottom outside pipe needs either a trace heater fitting down the condensate pipe or to be run internally advised Dave Ashton on job

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes