## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6465
DATE OF REPORT: 26/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 35 The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 16/02/2021, 26/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
New valve needed for radiator in lounge. Zenith aware and will fit when part arrives

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 3: Report
Attend site 0800 Gain access to flat 35 isolate heating in flat and drain down living room LST radiator strip out trv and fit new trv and disabled lever and kit for the LST radiator fill and vent radiator test operation all ok. Parts used 1 x LST trv and assembly kit complete 0930

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 4: Photos
Room / Area
Description
Notes
New stelrad LST disabled adaption kit and trv
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes