## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Holborn House
commercial Road
south shields
ne33 1ue
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6484
DATE OF REPORT: 15/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Holborn House
commercial Road
south shields
ne33 1ue
Carried Out On | 13/02/2021, 15/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Investigate reported leak within flat 8 and survey for potential new HIU unit

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 3: Report
Attended site at 10:50 for leak off HIU unit On arrival, find pump leaking from electrical connection box, isolate flow and return in ceiling space and drain HIU unit through radiator. Dry all unit out and make sure its not, leaking, will return on Monday with new pump. Left 2x heaters, so tennant has heating and explained she won't have any hot water. Clear of site at 12:30. FOW. Replaced pump as per Dave Ashton

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6484
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes