## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Brownsea Place
Sherriff Hill
Gateshead
ne9 5pz
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6491
DATE OF REPORT: 15/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 10 Brownsea Place
Sherriff Hill
Gateshead
ne9 5pz
Carried Out On | 13/02/2021, 15/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
no HW within building. Please check plant room function. Recall 15/02/2021 - Reporting no hot water through the whole scheme. Scheme officer John reported it. His number is 07795 302485. He can speak to the engineer to explain the issue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 3: Report
Adjusted pump speeds as per dave Hunter PR LPC 15.2.21 1250 - 1405 Arrived on site and gained access to plantroom , found both boilers to be running. Tested Primary pump to Calorifior , found not to have power supply present and DHW sitting at 30 c . Tested all circuits found to be ok , powered down controller at ceiling height, allowed time to reboot . Turned controller back on and straight away , primary pump began to run . Allowed time for Calorifior to fully recover to correct temperature, then test DHW at various taps in the building. THIS IS NOT A FIX AS CONTROLLER REQS REPLACING , MULTIPHASE TO ATTENS ASAP.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6491
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes