## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6518
DATE OF REPORT: 15/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
Carried Out On | 15/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Hot water has gone off poss Heating as well.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 3: Report
LPC 15.2.21 0900 - 0940 Attended site collected keys from reception and gained access to plantroom area , checked all plant - found all to be ok . Checked DHW temps in kitchen and common areas, found all to be ok . Went back into building and spoke to manager, who eventually found out that it was flat 2 and not the entire building. Proceeded to flat 2 and gained access , checked DHW at SINK and WHB found to be ok . Tennent state that issue is with the shower mixer , tested no DHW present . The shower valve is the responsibility of Karbons enginners , not us. I have informed the site manager and our office . Job complete .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6518
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes