## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Sunnycroft Court
Newcastle upon Tyne
Tyne & Wear
NE5 2TG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6519
DATE OF REPORT: 15/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Sunnycroft Court
Newcastle upon Tyne
Tyne & Wear
NE5 2TG
Carried Out On | 15/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Please replace boiler - Current boiler is a Worcester Greenstar 24i Junior horizontal flue and located in the kitchen property is a bungalow.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 3: Report
Worcester greenstar Horizontal flue Gas is 22mm Condensate terminates outside Filter and scale reducer req Bungalow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes