## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Shotleyfield View
Consett
County Durham
DH8 5AN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6522
DATE OF REPORT: 15/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 20 Shotleyfield View
Consett
County Durham
DH8 5AN
Carried Out On | 15/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water - F75 fault on boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 3: Report
attend site 1245 for no heating hot water once on site find boiler showing f75 fault code. check operation of the heating pump find all ok so drain down boiler and strip out pressure switch out and clean down , check pressure in expansion vessel and recharge to 1 bar refill boiler and test all ok. boiler firing and wait until DHW up to temp and radiators up to temp all working when i left site. off site 1315 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes