## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Chapleville
ne13 6eh
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6524
DATE OF REPORT: 16/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 9 Chapleville
ne13 6eh
Carried Out On | 15/02/2021, 16/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Investigate no heating within the flat UFH Cartirdges to be replaced

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 3: Report
All working on arrival Water meter not leaking water coming from lagging which was soaked over weekend from the leaking water meter , checked all pipework all ok. Attend site 1000 Isolate hot water to flat and strip out hot water meter and replace with 22mm copper , test for leaks all ok Gain access to underfloor heating manifold and find 2 x cartridges leaking , isolate manifold and strip out leaking cartridges and replace recommission unit and test all operations of all components 22mm copper £20 2 x 22mm pressfit sockets £5 2 x giacomini cartridges £40 All from van stock Offsite 1145 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes