## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6532
DATE OF REPORT: 23/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 23/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant has tried turning off at the radiator and at the thermostat but the heating remains hot.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 3: Report
Pick up parts on way to site arrive onsite 0830 Gain access to flat 20 test room stat find all ok check 2 port valve find it not closing when powered off, try isolation on pipework in flat find this passing so had to isolate flow return in plantroom and switch off pressurisation unit. Using a wet vac and drain flat 20 heating enough to be able to strip out 2 port valve and alter pipework so a new honeywell 2 port valve can be fitted , fill vent and reinstated heating to site, test operation of new 2 port valve all ok Parts used 1 no honeywell 2 port valve and actuator from van stock £92 Complete off site 1015

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 4: Photos
Room / Area
Description
Notes
Old faulty valve
Room / Area
Description
Notes
New honeywell 2 port valve
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6532
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes