## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6533
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 The Elms
Chester-Le-Street
Co Durham
DH2 3EJ
Carried Out On | 22/02/2021 01/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
All hot water coming into the property is only luke warm. New shower has been fitted however has not changed anything.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 3: Report
Attend site 1315 Tennant not in staff unable to contact him Offsite 1345 Attend site for water temp in flat 1430 Carry out tests find kitchen sink and bathroom hand basin hot water temp 48° but shower is still low temp investigate and find that pipework needs a none return valve fitting on shower advise karbon of this as we don't do the plumbing . Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6533
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes