## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Southgate
West Farm Rise
Longbenton
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6537
DATE OF REPORT: 18/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 14 Southgate
West Farm Rise
Longbenton
NE12 8UW
Carried Out On | 16/02/2021, 18/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
16/02/21 - Recall Job Residents (specifically flat 14) and SHO office are reporting that heating is still faulty. Please return to site and remedy as a matter of urgency. Please liaise with resident at flat 14 & SHO (Ann) whilst on site.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 3: Report
Onsire 1245 for no 14 with out heating Gain access to flat find no heating trace back to zone 2 heating pumps switched off, in plantroomturn on and test all working, also check office radiators working all ok. Complete offsite 1330 LPC 18.2.21 1520 -1620 Arrived on site and gained access to building , proceeded to plantroom area . Found 1 x of the boiler modules to be in fault , reset and it fired up and ran . Monitored functions and performance of the module , ran ok . Checked the heating pump settings and found them to be set to normal , turned selected Max and allowed for circulation . Went back into main building and checked the radiators, reported as being faulty ( common areas and office ) Checked radiators and found to be now working ok . Attempted a couple of times to gain access to flat 14 , but unable to get an answer .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6537
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes