## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-30 Towneley Court
Stanley
County Durham
DH9 7NL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6539
DATE OF REPORT: 23/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-30 Towneley Court
Stanley
County Durham
DH9 7NL
Carried Out On | 23/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
tenants complaining radiators are not warming up in flats. Someone from Zenith came out in January and did say that there wasa issue with the valves that had been fitted to the radiators and that he would report is to his manager but havent heard anything back regarding this.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 3: Report
Attend site for radiators in room 25 and no 4 now working in lounge 1700 Gain access to flat 25 find radiator in lounge just warm take a room temp reading and find it to be 27° the drayton trv on the radiator is only rated to 28° and will shut off , so take the pin out of the trv head with allows full heat , check radiator now filly hot tennant is happy. Check room 4 and find the trv has been replaced by another engineer and working all ok Offsite 1800 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes