## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-6540
DATE OF REPORT: 16/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Carville Grange
Carville Road
Wallsend
NE28 6DX
Carried Out On | 16/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
16/02/2021 - Recall - MSPS engineer attended site and water meter in ceiling opposite lift is leaking. Please re attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 3: Report
Attend site 1145 for leaking water meter Once onsite strip ceiling tiles and find 22mm cold water meter leaking isolate and drain from laundry cut out leaking meter and replace withvp 22mm copper re fill and vent test for leaks all ok Refit ceiling tiles Complete offsite 1245 22mm copper £20 2 x 22mm pressfit sockets £5 All from van stock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6540
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes