## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms with House 2 Candlish Street
South Shields
Tyne & Wear
NE33 3JW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6547
DATE OF REPORT: 09/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms with House 2 Candlish Street
South Shields
Tyne & Wear
NE33 3JW
Carried Out On | 17/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Communal area - no heating or hot water- supported housing. hot water needed urgently to assist with cleaning etc. no covid-19 issues and discussed 24hr call out

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 3: Report
Attend site 10.18 for no heating or hot water Gain access to site and find boiler pilot not on investigate and find all ok , relight pilot and test all ok wait until all up to temp . Survey to replace heating for a more efficient system for Jim park Offsite 1230 Complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6547
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes