## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Holborn House
Commercial Road
Southshields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6548
DATE OF REPORT: 19/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Holborn House
Commercial Road
Southshields
NE33 1UE
Carried Out On | 19/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant at number 8 has lukewarm heat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 3: Report
Attend site 0900 for radiators not hot Gain access to flat find domestic hot water actuator faulty, wide open stealing the heat from the heating circuit find an actuator in van from a previous repair , install this and test find all ok ok , had to pull water to all radiators to clear the airlocks all ok now Parts used 1 no mhs dhw actuator from van stock £90 Offsite 1200 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6548
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes