## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Fellsdyke Court
1-6 Fellsdyke Court
Gateshead
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6549
DATE OF REPORT: 17/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Fellsdyke Court
1-6 Fellsdyke Court
Gateshead
NE10 9SB
Carried Out On | 17/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water or just a trickle reported by no2, said last week a couple of times was using the hot water and none came out the tap/shower. also when it was in used wasn't much pressure. today has got no hot water from the taps. hasn't seen other tenants to ask if they have been affected

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 3: Report
Attend site 1245 for no hot water Contact tenant who informed me that they would be 30 mins Gain access to plant room , find no 2 boiler off condemned, but no 1 boiler up to temp and working correctly. Isolate DHWpump and strip down and check operation of pump and condition of impeller find all ok Reasemble and test all ok. Go to flat 2 find kitchen sink has hot water and bathroom hand basin has hot water (this is mixed down to 40°) But find bar mixer shower faulty no hot water , tennant explained that this was his complaint, Requires karbon to attend to replace bar mixer shower (standard size) Offsite 1345 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6549
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes