## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 The Lawns
Ladgate Lane
Middlesbrough
TS4 3SA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6551
DATE OF REPORT: 17/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 The Lawns
Ladgate Lane
Middlesbrough
TS4 3SA
Carried Out On | 10/02/2021
Survey Completed By | Josh Hodgson
SECTION 2: Introduction
Complete a site survey of heating, hot, cold and drainage systems.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 3: Report
Zenith where commissioned to complete a full mechanical component survey, all heating, hot, cold and drainage components where to be assed for correct installation and operation. Where areas of ceilings have been removed Zenith have identified a lack of pipework fixings/clips. This combined with a lengthy period of system decommission has contributed to John Guest speed fit fittings experiencing movement due expansion and contraction. This in turn has caused fittings to move beyond there required seating point and leaks have subsequently occurred. The drainage and heating systems have been checked for correct operation, these are deemed satisfactory with the potential need for a final heating system balance to achieve maximum efficiency. In our opinion additional fixings should be installed where accessible to mitigate against any further pipework movement and confirmation supplied that a initial pressure test was completed prior to plot handover. The Ideal Logic Heat 18 boiler is operating correctly and inline with manufactures instructions.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 4: Photos
Room / Area
Ceiling space beneath bathroom
Description
Cold 15MM elbow
Notes
Fitting has slipped causing a leak.
Room / Area
Bathroom
Description
Hot 15MM straight
Notes
15MM straight had slipped causing a leak.
Room / Area
Area of ceiling removed
Description
Section of pipework within ceiling void requiring additional pipework support/fixings
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes