## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Hillmeads
Nettlesworth
Chester-le-Street
DH2 3PU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6553
DATE OF REPORT: 18/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Hillmeads
Nettlesworth
Chester-le-Street
DH2 3PU
Carried Out On | 18/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Renew boiler - possible repipe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 3: Report
Worcester greenstar installed on landing Virtical flue Gas is 22mm Condensate terminates outside 4xflue extensions plus 2 x 45 elbows 3 bedroom house Loft hatch is really small and tight to get in to Pleaee ring house number to arrange job 0191 660 8939

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6553
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes