## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6561
DATE OF REPORT: 26/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 19/02/2021 26/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Could you please ask Zenith Mechanical to call to flats: 41 & 57 on the second floor which all have the same issue of being cold in the bathroom and hallway.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 3: Report
Attend site 1400 for no heating in flats 41 and 57 Gain access to flat 41 tenant said bathroom underfloor heating not working gain access to heating manifold and find bathroom actuator closed trace back to faulty rooms at. Link out and testvfind bathroom underfloor heating all working but will have no control until new stat fitted. Order new stat (will order 10 stats and leave 9 onsite as these fail regularly ). Flat 57 needed water pulling through the bathroom heating circuit as its airlocked clear airlock and test all ok. Offsite 1545 Fow to return to site with roomstats and replace no 41 bathroom stat Onsite 1050 for room stat for bathroom Pick up stat on way to site , travel to site gain access to room 41 isolate electrical supply heating strip out bathroom room stat and room temp sensor , change both for new commission and test all ok Check operation of the new stat and the actuator all working ok Parts fitted 1 x danfoss room stat and sensor (9 ldanfoss room stats left on site as spares as requested by site manager ) Off site 1130 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6561
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes