## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6573
DATE OF REPORT: 23/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
Carried Out On | 23/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
hot water is running hot and cold ---- plate heat exchanger in unit is clogged

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 3: Report
Attend site 1550 For no hot water gain access to HIU unit adjust tmv to give 47° show tennant that its running at a constant 47° for 15 mins she said its hot enough now Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6573
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes