## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Aged Miners Homes
Windy Nook
Gateshead
NE10 9RN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-6597
DATE OF REPORT: 21/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 24 Aged Miners Homes
Windy Nook
Gateshead
NE10 9RN
Carried Out On | 21/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 3: Report
Onsite 2100 for no heating Find batteries on rf heating unit flat , fit new and test heating all ok. Also find a leak on microbore pipe on lounge radiator ive tried to tighten up needs further works .slight weep. Offsite 2130 fow Parts used 2 x AA batteries van stock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 4: Photos
Room / Area
Description
Notes
Replace batteries in rf controller
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6597
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes