## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Cookson Place
Stanley
County Durham
DH9 6YS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6599
DATE OF REPORT: 22/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 Cookson Place
Stanley
County Durham
DH9 6YS
Carried Out On | 22/02/2021
Survey Completed By | James Moore
SECTION 2: Introduction
Renew worcester boiler and flue Tenant has been left heaters Worcester 30CDI --- Horizontal flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 3: Report
Worcester greenstar 30 in kitchen Horizontal flue Stand off kit req Condensate terminates inside Scale reducer and filter req Boiler not working customer has no heating or hot water

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6599
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes