## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Burn Promenade
Burn Park Road
Houghton-le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-6600
DATE OF REPORT: 24/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 11 Burn Promenade
Burn Park Road
Houghton-le-Spring
DH4 5EJ
Carried Out On | 24/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Bedroom radiator is leaking from the top valve.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 3: Report
Onsite 1430 for leak on radiator valve Gain access to bed room radiator find leaking from the gland need to replace. Locate isolation in the flat , isolate heating and drain down using wet vac strip out the rad valve and change for new thermostatic trv , fill system and vent test all ok Parts used 1 x 15mm peglar bulldog TRV from van stock £20 Off site 14:30

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 4: Photos
Room / Area
Description
Notes
Old leaking radiator valve
Room / Area
Description
Notes
New TRV fitted and tested.
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6600
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes