## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-29 Langley House
Burnhope
Durham
DH7 0AG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6601
DATE OF REPORT: 22/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-29 Langley House
Burnhope
Durham
DH7 0AG
Carried Out On | 22/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Commercial Boiler Repairs - limited / no hot water - reported by Elsie scheme officer - customer are reporting since service last week the water is not hot and limited / runs cold -

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 3: Report
Onsite 1415 for no hot water Gain access to plant room find cylinder temp at 62° , check DHW pumps working and primary pumps ok. Check communal areas for hot water all ok. Knock on a couple of rooms they all have hot water. Offsite 1530 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6601
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes