## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Derwentdale Court
Blackhill
Consett
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6605
DATE OF REPORT: 22/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Derwentdale Court
Blackhill
Consett
DH8 8PY
Carried Out On | 22/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Livingroom and bedroom radiators are making noise

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 3: Report
Attend site 1645 Living room radiator trv banging when switching off . Isolate flow /return drain down using wet vac and strip out old trbv and change for new pegler terrier TRV Zfill and vent all test operation find all ok Offsite 1800 complete Parts used 1 no 15mm peglar terrier trv £15 vanstock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 4: Photos
Room / Area
Description
Notes
Old damaged trv
Room / Area
Description
Notes
New peglar 15mm TRV tested all ok
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6605
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes