## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6607
DATE OF REPORT: 28/05/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Ferndene
19 Lyndhurst Road
Benton
NE12 9NT
Carried Out On | 22/02/2021, 23/02/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating/hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 3: Report
Attended site to find boiler locked out on ignition fault. Diagnostics revealed there was no power supply outgoing to the ignition transformer from the PCB. The tenant noted electrical works went ahead within the property i suspect this is the reason the PCB has blown. PCB ordered to wolseley tyne tunnel. DA to return and replace 23/02/21 Attend site 23/02/21 11.30 Pick up pcb from wholesalers and travel to site have to have a covid test this takes 45 mins to have the results back these came back clear. Once inside the flat isolate the electric and change out the pcb test on completion find gas valve has intermittent fault . Pick up new gas valve and fit and test find intermittent fault , trace gas pipework throughout flat find a 2nd isolation valve in cloak room 3/4 closed open this up and test all ok re commission and test all ok Offsite 1515 Parts used 1 no gas valve 1 no pcb

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes