## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
96 Chapel Drive
Delves Lane
Consett
DH8 7EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6613
DATE OF REPORT: 24/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 96 Chapel Drive
Delves Lane
Consett
DH8 7EW
Carried Out On | 23/02/2021
Survey Completed By | Daniel Lockey
SECTION 2: Introduction
Renew boiler ASAP - no heating (Heat only boiler)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 3: Report
Current boiler- Potterton Promax 15 HE Location - Kitchen above sink Hot and cold pipe work available if converting. Condesate terminates inside under sink. Gas 15mm to boiler will need to investigate more to make sure 22mm before hand. Flue terminal, elbow and one 45 degree bend required 22mm flow and returns to boiler (1 length 22mm will be sufficient if a straight swap) Electrics under the boiler clock and spur. Job required to be completed ASAP

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6613
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes