## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Biverfield Road
West Wylam
Prudhoe
NE42 5ER
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6629
DATE OF REPORT: 24/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Biverfield Road
West Wylam
Prudhoe
NE42 5ER
Carried Out On | 24/02/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Boiler replacement - Install new boiler. Horizontal flue on ground floor. ---- Will require condensate run to be installed. ---- Customer currently with no heating or hot water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 3: Report
Current appliance is a vaillant combi in kitchen cupboard with horizontal flue. Gas supply is in 22mm copper reducing to 15mm under the boiler There is a shared soil stack for condensate discharge.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6629
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes