## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Manors
Adderlane Road
West Wylam
NE42 5ET
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6636
DATE OF REPORT: 19/01/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The Manors
Adderlane Road
West Wylam
NE42 5ET
Carried Out On | 24/02/2021
Survey Completed By | Lee Chatterton
SECTION 2: Introduction
Supply & Install Interlock for Catering Appliances Trent Products - 160.00 Wolseley 74228754 1,096.27

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 3: Report
LPC 24.2.21 0800 - 1200 Met with Dave Hunter on site and spoke with Mark the manager . Explained the situation to mark regarding high levels of co2 in the kitchen area , carried out the test with them both present . Mark then completed his own risk assessment and produced a safe operating procedure , to allow safe usage of the kitchen equipment . I have spoken to the manufacturer of the control interlock panel , and identified a compatable CO2 monitor to be interlocked to gas supply . Site is still AT RISK as per original warning notice . Ongoing works - Dave Hunter is aware.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes