## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Fourth Avenue
Chester-Le-Street
County Durham
DH2 2EE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6646
DATE OF REPORT: 25/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Fourth Avenue
Chester-Le-Street
County Durham
DH2 2EE
Carried Out On | 25/02/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Replacement boiler required - as per Andy Sutherland

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 3: Report
Current appliance Worcester greenstar combi with horizontal flue located in bedroom cupboard Condensate pipework present Gas pipework in 22mm copper to appliance Photographs supplied on separate email.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6646
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes