## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 Rooley Heights
Sowerby Bridge
Halifax
HX6 1HR
CARRIED OUT ON BEHALF OF
HG Morgan Sindall
REPORT NUMBER: 21-6652
DATE OF REPORT: 17/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | HG Morgan Sindall
Address | Sheffield South
Yorkshire
S9 2UB
Site Address | 50 Rooley Heights
Sowerby Bridge
Halifax
HX6 1HR
Carried Out On | 10/03/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
survey and install FULL HEATING SWAP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 3: Report
Living room- 1400x 600 double Hallway-600x600 single Kitchen-1400x600 double All pipe worn surface mounted and boxed in downstairs Upstairs Landing-600x600 single Bathroom- 500x700 double single convector Bedroom 1-1000x600 single Bedroom 2 1000x600 single Bedroom 3-700x700 single Pipe work to be brought through Woden floors upstairs Boiler to not to be replaced as is an ideal combi c 30 installed last year.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6652
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes