## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Rolley Way
Prudhoe
NE42 5FH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6656
DATE OF REPORT: 25/02/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Rolley Way
Prudhoe
NE42 5FH
Carried Out On | 25/02/2021
Survey Completed By | Gary Ward
SECTION 2: Introduction
John Hepworth - Gas pipe knicked, engineer requested to attend to make safe / repair

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 3: Report
Gas pipe damaged, 15mm straight connector required. Hot works! Isolated and capped gas supply at meter outlet. Urgent! Fow to be raised customer has no heating or hot water.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 4: Photos
Room / Area
Kitchen
Description
Damaged gas pipe
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6656
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes