## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6672
DATE OF REPORT: 04/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 26/02/2021, 01/03/2021 02/03/2021 02/03/2021 04/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Replacement TRV on lounge radiator required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 3: Report
Attend site 1415 to change trv in the lounge Once onsite try to locate flats isolation for the heating search every cuboard but unable to find any isolation. Try to freeze pipework but heating is on full and pipework won't freeze will have to attend on Monday to carry out work . Offsite 1530 fow Attend site 1100 to change radiator valve Isolate heating and let cool down , trybto freeze pipe but building is to hot to freeze pipework so trace pipework to flat 36 above to find isolation valves, isolate these and return to flat 23 strip out the damaged living room trv and replace with new pegler terrier trv fill vent test all ok Parts used 1 x peglar bulldog TRV vanstock £20 Offsite 1300 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6672
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes