## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-6688
DATE OF REPORT: 01/03/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 01/03/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Water pump is leaking onto the primary pump.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 3: Report
Attend site for leaking water meter 1100 Pick up pipe and fittings from wholesalers andctravel to site Once on site gain access to plant room , isolate primary circuit on the heating system and drain down , drain down and strip out 11/2" water meter and install 2 no 11/2" mail iron -42mm transition fittings and 42mm copper. Fill and vent check for leaks , all ok Parts used 2 no 11/2" - 42mm transition fittings 1 no 42mm pressfit slip union 1 no 42mm copper Hire 42mm pressfit machine Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 4: Photos
Room / Area
Description
Notes
11/2" water meter stripped out
Room / Area
Description
Notes
New pipework installed instead of meter
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-6688
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes